# Rule 11 analysis

Category: Regulatory Positioning    Template type: Blank form for completion

| Purpose | Apply MDR Rule 11 to the software and record the class conclusion and rationale. |
| --- | --- |
| Use this when | You need a first-pass Anathem template with the core questions and answer space needed for this document. |

| Document owner | ________________________________________ | Version | ________________________________________ |
| --- | --- | --- | --- |
| Status | ________________________________________ | Effective date | ________________________________________ |
| Review date | ________________________________________ | Approver | ________________________________________ |
| Related product | ________________________________________ | Related file / ID | ________________________________________ |

Completion note: Replace prompts with Anathem-specific content, add appendices where needed, and remove non-applicable prompts only after review.

# Questions to answer

| Question / prompt | Response |
| --- | --- |
| Which product functions provide information used to take decisions for diagnostic or therapeutic purposes? |  |
| Could the information drive decisions that may cause death or irreversible deterioration if incorrect? |  |
| Could the information drive decisions that may cause serious deterioration or surgical intervention if incorrect? |  |
| Does the software monitor physiological processes and, if so, which ones? |  |
| Does any monitoring relate to vital physiological parameters where variations could result in immediate danger? |  |
| Based on the above, what class follows under Rule 11 and why? |  |

# Attachments / references

| Reference / attachment | Purpose | Status / location |
| --- | --- | --- |

# Review and approval

| Prepared by | ________________________________________ |
| --- | --- |
| Reviewed by | ________________________________________ |
| Approved by | ________________________________________ |
| Approval date | ________________________________________ |
| Comments / conditions | ________________________________________ |